| Energy |
| --- |
| Category | Measure Number | Strategy | BMP | Grouped With # | Range of Effectiveness |
|  |  |  |  |  | Percent Reduction in GHG Emissions | Basis |
| Building Energy Use | BE-1 | Buildings exceed Title 24 Building Envelope Energy Efficiency Standards by X% (X is equal to the percentage improvement selected for the project |  |  | For a 10% improvement over 2008 Title 24: Non-Residential electricity use: 0.2-5.5%; natural gas use: 0.7-10% Residential electricity use: 0.3-2.6%; natural gas use: 7.5-9.1% |
|  | BE-2 | Install Programmable Thermostat Timers | x |  | BMP |
|  | BE-3 | Obtain Third-party HVAC Commissioning and Verification of Energy Savings | x | BE-1 | BMP |
|  | BE-4 | Install Energy Efficient Appliances |  |  | Residential building: 2-4% Grocery Stores: 17-22% | Appliance Electricity Use |
|  | BE-5 | Install Energy Efficient Boilers |  |  | 1.2-18.4% | Fuel Use |
| Alternative Energy Generation | AE-1 | Establish Onsite Renewable Energy Systems-Generic |  |  | 0-100% |  |
|  | AE-2 | Establish Onsite Renewable Energy Systems-Solar Power |  |  | 0-100% |  |
|  | AE-3 | Establish Onsite Renewable Energy Systems-Wind Power |  |  | 0-100% |  |
|  | AE-4 | Utilize a Combined Heat and Power System |  |  | 0-46% |  |
|  | AE-5 | Establish Methane Recovery in Landfills |  |  | 73-77% |  |
|  | AE-6 | Establish Methane Recovery in Wastewater Treatment Plants |  |  | 95-97% |  |
| Lighting | LE-1 | Install Higher Efficacy Public Street and Area Lighting |  |  | 16-40% | Outdoor Lighting Electricity Use |
|  | LE-2 | Limit Outdoor Lighting Requirements | x |  | BMP |  |
|  | LE-3 | Replace Traffic Lights with LED Traffic Lights |  |  | 90% | Traffic Light Electricity Use |